## Ценови таблици
ЦЕНОВА ТАБЛИЦА №1
|  |  |  | Описание | Предложение
|  |  | 1. | Цена за един сервизен час (в лева без ДДС) Цената следва да включва разходите за труд и всички разходи/такси, дължими от възложителя. Цената не включва цената за резервни части и консумативи
ЦЕНОВА ТАБЛИЦА №2
Извънгаранционно сервизно обслужване на газови хроматографи, произведени от Thermo Scientific - Тройно квадропулна GC/MS/MS система TSQ Quantum GC , Thermo Scientific, GC-FID, TRACE 1300 Thermo; Hiper TOC Analyzer Thermo Electron Corporation, Апарат за пречистване на вода, Система за твърдофазна екстракция, което да вкл. Извършване на профилктичен преглед, ремонт и доставка на резервни части и консумативи.”
№ | Описание на консумативите/резервните части | Измервателен инструмент/модел | Предложение на участника
|  |  | Предлагана разфасовка/опаковка | Цена на разфасовка/опаковка, в лв. без ДДС (до втори знак след десетичната запетая) | Ед. цена в лева без ДДС за единица/брой в разфасовка/опаковка (до втори знак след десетичната запетая) (за целите на оценка)
1 | Капилярна колона TR-Pesticide 30m x 0.25mmID x 0.25 µm with 5m guard, 5% Phenyl Methylpolysiloxane | GC/MS/MS - TSQ Quantum GC Thermo
2 | Капилярна колона Restek 30m x 0.25mmID x 0.25 µm, 5% diphenyl/95% dimethyl polysiloxane
3 | Filament assembly
4 | Base studs
5 | EI/CI Source PCB
6 | GC Manual Syrynge 10µL, FN, 50mm,26, Bevel
7 | Septa, BTO, 17mm 50бр/оп.
8 | Lens Holder
9 | Lens Spacer
10 | Ion Source Block
11 | Alignment stud , source blck
12 | Assy heather, Ion source, high temp
13 | Ceramic Heather PCB Assy, ХLS- TSQ 70111- 60848
14 | Filament spacer­ 70111-22061
15 | Filament retainer clip 70111- 22071
16 | Ion source heater board 70111- 60780
17 | Aluminum oxide 32000- 60340
18 | Calibration compound (FC- 43
19 | Kit, calibration compound vial 120433- 0001
20 | MS Interface-15% Graphite /85% Vespel Ferrules for 0.25 mm ID Clumn
21 | Click - On Inline Filter –Triple –Moisture, Oxygen, Hydrocarbones –He preconditioned for GC/MS
22 | Vacuum pump oil Edwards Ultra Grade 19,1L
23 | Шишенца с капачки и септи за аутосемплер AS 800, Vial 10 ml crimp/cap 5/PK
24 | Платка ASSY PWR CONTROL BASIC TRACE
25 | Tri- Scale Ruler 60180- 783 | GC-FID, Trace 1300
26 | Trace- TR 5MS GC Coloumns ID /mm/ 0,25; Length /m / 30; Film thickness /µm/ 0,25 260F142P
27 | GC Autosampler Syrynge 10µL, FN, 50mm Length , 25 Gauge, Cone Needle
28 | Ceramic Column Cutter 60201- 318
29 | Split retaining Nut, M4
30 | Column-Flow Meter Connector
31 | Oven Heater Baffle Assemble
32 | Oven Heater Temperature Sensor
33 | Oven Motor
34 | Flap Motor
35 | Oven Multiple Flap
36 | Fan, Cooling
37 | Filter, Split Line
38 | Filter, Carrier Line
39 | Fitting Cap, Backflush Line
40 | Injector Body, SSL
41 | Liner Cap/Septum Holder
42 | Liner Seal
43 | 0-Ring External, Body Head
44 | 0-Ring Internal, Body Head
45 | 0-Ring (Parafl.uor2-6) Manifold
46 | Retaining Nut (for Column Adapter)
47 | Ring Nut
48 | Septum Cap
49 | Silver Seal
50 | Base Seal
51 | Cell Top Cover Assemble (Top Body)
52 | Collecting Electrode
53 | Collecting Electrode Pin
54 | Collector Insulator
55 | Detector Cap (Ring Nut)
56 | Flowmeter Adapter
57 | Glow-Plug (Igniter)
58 | Insulator Ring
59 | Jet; ceramic Flame
60 | Polarizing Electrode
61 | Test Mixture
62 | Main CPU Board (OVN- HRM; PC1258)
63 | Memory Board (MEM-HRM; PC1259)
64 | External Interface Board (EXT-HRM; PC1263)
65 | Clamp Bracket for Backflush
66 | SSL Maintenance Kit
67 | SSL o-Ring Kit
68 | FID Igniter Kit
69 | FID Maintenance Kit
70 | Tee Connector for Clamp Bracket Backflush Kit
71 | High Current Line Filter 16A 250V
72 | Gas Block Plug Kit
73 | Gas Inlet Fiting Kit
74 | Gas Inlet Fiting 1/8-in (for Toggle valve)
75 | Tee Connector
76 | Complete Base assy
77 | Graphite Ferrule for 0.1 - 0.32 mm ID Columns
78 | Graphite Ferrule for 0.45 - 0.53 mm ID Columns
79 | Blind Ferrule
80 | Encapsulated Graphite Ferrule for 0.25 mm ID Columns
81 | Encapsulated Graphite Ferrule for 0.32 mm ID Columns
82 | Encapsulated Graphite Ferrule for 0.53mm ID Columns
83 | Syringe 10 ul, 50 mm needle length
84 | Septum, BTO 11 mm OD with center guide
85 | Precolumn, Silcosteel, 2 m legth, 0,5 mm
86 | SSL Split Stright Liner, Deactivated, 4mm ID x 6.3mm OD x 78.5mm Lenth, Quartz Wool
87 | SSL Splitless Liner, single Taper, Deactivated, 4mm ID x 6.3mm OD x 78.Smm Lenth, Quartz Wool
88 | SSL Split Stright Liner, Deactivated, 4mm ID x 6.3mm OD x 78.5mm Lenth
89 | SSL Splitless Liner, single Taper, Deactivated, 4mm ID x 6.3mm OD x 78.5mm Lenth
90 | Retaining Nut, Hexagonal, 1/4- in. (M6)
91 | TG-1MS GC Column 15m x 0.32mm x 0.25µm
92 | TG-5MS GC Column 30m x 0.25mm x 0.25um
93 | TR-PCB 8MS 50m0.25mm id, 0.25um
94 | 0.5ul SYR PIN 50mmGauge 23, cone tip
95 | 1 Oµl SYR FN 50mm CTCGauge 23, Cone Tip
96 | 2 mL crimp top vial, clear glass with ID patch and 11 mm blue aluminium cap, blue silicone/red PTFE seal
97 | 2 mL screw top vial with 9 mm soft blue silicone/clear PTFE seal
98 | 2 mL crimp top vial, clear wide mouth with ID patch
99 | 11 mm aluminium crimp caps with PTFE faced septa
100 | 2 mL wide mouth screw top vial, clear with ID patch
101 | 9 mm screw cap, blue, prefitted9 mm screw cap, blue, prefitted silicone/PTFE seal
102 | 300 µL screw top fixed insert vial, clear with ID patch
103 | Graphite I Vespel Ferrule for 0.32mm Column
104 | Graphite I Vespel Ferrule for0.53mm Column
105 | Graphite I Vespel Ferrule for 0.1-0.25mm Column
106 | 1 Oµl SYR FN 50mm Mgauge 26, bevel tip
107 | Column Nut for SSL-SSL- Backflush FID, ECD, TCD,NPD
108 | Фитинги за течна хроматография размер 1/8, flange free | TOC Analyzer - Thermo
109 | Sample needle 168 mm PS3 GA16
110 | Газови линии
111 | 1/8 flange free fitting
112 | 1/16 flange free fitting
113 | Инлет за високотемпературен реактор
114 | Waistle vial
115 | Shut off valve P/N HIPER 0311
116 | Ir Assay Light Source P/N HIPER0622 Инфрачервен източник за NDIR детектор
117 | Peltier Assembly HiperTOC P/N 25072009-01-01
118 | Elblow 12 mm , PREST010 14
119 | Waste tube EFU1000, PMECH06 97
120 | M8 nut , PMECH0144
121 | Живачна лампа за UV реактор Hiper 0505
122 | 1/ 8 PEEK Flange- Free Ferrules/ Flange – Free PEEK 1/8, 10 бр.
123 | Connector nylon elbow1/4 x 1/4
124 | Vial Tray
125 | Vial Drip Tray
126 | Peltier element
127 | COMBUSTION TUBE UNIVERSAL
128 | Screw cap with bore GL-14
129 | Seal GL-14 SIL/PTFE Bore 6 mm
130 | Inlet Gas Liquid separator
131 | Gas Liquid separator
132 | Elbow red union 1/8 in x 1/4 in PTFE
133 | Composite Air Vent Filter Вентилиращ композитен филтър LC 136M2 | Апарат за пречистване на вода „Purelab Classic UV”, „Purelab Flex”, “ELGA LabWater”
134 | Тwin PacK Purification Cartridge Дейонизираща двойна касета за „Purelab Classic” LC162
135 | Pre- treatment Cartridge Касета за предварително очистване
136 | Desinfection tablets Дезинфектиращи таблетки, 12/ опак.
137 | Филтър за отстраняване на механични замърсители и свободен хлор за предфилтрация преди дестилатори и система за ултрачиста вода с капацитет до 100l- h, степен на пречистване на механични примеси с размер 10 мм и работно налягане в интервала 4- 6 бара
138 | RO Cartridge LC 143
139 | Краен филтър за частици 0,2μm – LC 134
140 | Входен електрически модул POWER INLET MODULE CEP WLA0020
141 | Импулсен захранващ блок 110W switch mode power supply (SMPS)
142 | Бустерна помпа за ЕLGA Purelab Prima 7
143 | UV лампа 185 nm
144 | Purification Pack- LC 208
145 | Sanitization Pack- LC209
146 | 185/254 nm UV Lamp- LC 210
147 | 0,2 µm Microfilter- Point- of- Use- LC 145
148 | Biofilter- Point- of- Use- LC 197
149 | FUSE, QUICK BLOW, SMD, 3A, PURELAB flex
150 | Vacuum Gauge and Valve Assembly 60104-261 | Система за твърдофазна екстракция
151 | Luer Lock Plugs 60104-258
152 | Column Adaptors 60104-259
153 | Tips for Vacuum Manifold
154 | Hyper Sep C18 SPE Cartridges 2000mg/15ml/20pkg 60108-701
155 | Hyper Sep Phenyl SPE Cartridges 2000mg/15ml/20pkg 60108-707
156 | Hyper Sep Silica SPE Cartridges 2000mg/15ml/20pkg 60108-710
157 | Уплътнител /spe gasket/ разположен между стъклената и пластмасова част
ОБЩО:
|  |  | Подпис на участника: | ……………………

## Ценова таблица №3
ЦЕНОВА ТАБЛИЦА №3
Извънгаранционно сервизно обслужване на газови хроматографи, произведени от Thermo Scientific - Тройно квадропулна GC/MS/MS система TSQ Quantum GC , Thermo Scientific, GC-FID, TRACE 1300 Thermo; Hiper TOC Analyzer Thermo Electron Corporation, Апарат за пречистване на вода, Система за твърдофазна екстракция, което да вкл. Извършване на профилктичен преглед, ремонт и доставка на резервни части и консумативи.”
| Описание | Предложение
1. | Процент отстъпка от действащи цени на Доставчика към момент на сключване на договор за доставка на резервни части и консумативи невключени в Ценова таблица № 2.